## Slide 1: Cardiologist-Level Arrhythmia Detection with Convolutional Neural Networks
Jae-min, Lee
ashesmin@mobile.re.kr
Intelligence Networking & Computing Lab.
Dept. of Electrical & Computer Eng.
Pusan National University
- Pranav Rajpurkar, Awni Y. Hannun -

## Slide 2
Intelligence Networking and Computing Lab.
Contents
Introduction
Data
Model
  Structure
  Convolutional Layer
  Relu
  Dropout
  Batch Normalization
  Shortcut connections
Analysis

## Slide 3
Intelligence Networking and Computing Lab.
Introduction
Diagnosing arrhythmias
  Detecting arrhythmias from ECG records has traditionally been challenging for computer systems, with accuracy rates ranging from 50% to just 1 in 7 correct diagnoses
34-layer Convolutional Neural Network(CNN)
  Single-lead ECG signal sampled at 200Hz and a sequence of annotations for every second of the ECG
  Residual connections and batch-normalization
A dataset of about 30,000 unique patients
  from a pool of nearly 300,000 patients who have used the Zio Patch monitor(iRhythm Technologies)
Testing model against board-certified cardiologists
  The model exceeds the individual expert performance on both recall, and precision on this test set
- SINUS : The sinus rhythm
- AFIB : Atrial fibrillation(심방 세동)

## Slide 4
Intelligence Networking and Computing Lab.
Data
A single-lead ECG signal sampled at 200Hz and a sequence of annotations for every second of the ECG
  A ECG record = 30 seconds ECG signal
Rhythm Classes
  14 output classes : 12 heart arrhythmias, sinus rhythm and noise
Training Data
  64,121 ECG records from 29,163 patients.
  90% Training set and 10% validation set
Test Data
  336 ECG records from 328 patients.

## Slide 5
Intelligence Networking and Computing Lab.
Model
Structure
The convolutional layers all have a filter length of 16 and have 64k filters, where k starts out as 1 and is incremented every 4-th residual block
Every alternate residual block subsamples its inputs by a factor of 2

## Slide 6
Intelligence Networking and Computing Lab.
Model
Convolutional Layer
10 | 6 | 5
5 | 3 | 7
3 | 4 | -1
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1 | 1 | 1 | 2 | 1 | 0
0 | 2 | 0 | 1 | 0 | 2 | 0
0 | 2 | 2 | 2 | 2 | 2 | 0
0 | 1 | 2 | 1 | 2 | 2 | 0
0 | 0 | 0 | 1 | 2 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
-1 | 0 | -1
1 | 0 | 0
-1 | -1 | -1
1 | 1 | 2
1 | 2 | 3
-1 | 2 | 5
Input ( + padding 1) (7*7*3)
Filter W0(3*3*3)
Output (3*3*2)
Filter W1(3*3*3)
-1 | 1 | 0
0 | 1 | 0
-1 | 1 | 1
1
Bias b0(1*1*1)
0
Bias b1(1*1*1)
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2 | 0 | 1 | 2 | 0 | 0
0 | 1 | 0 | 2 | 0 | 0 | 0
0 | 0 | 2 | 0 | 2 | 1 | 0
0 | 1 | 2 | 1 | 2 | 2 | 0
0 | 0 | 0 | 1 | 2 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2 | 1 | 2 | 0 | 0 | 0
0 | 2 | 0 | 0 | 1 | 0 | 0
0 | 2 | 0 | 1 | 2 | 2 | 0
0 | 0 | 2 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
x [ : , : , 0]
x [ : , : , 0]
x [ : , : , 0]
0 | 0 | 0
0 | 1 | -1
0 | 0 | -1
0 | -1 | 1
1 | 1 | 0
0 | 0 | 0
0 | 0 | -1
0 | 0 | 0
1 | 0 | 1
1 | 0 | 1
0 | 1 | 1
0 | 1 | 1
w0 [ : , : , 0]
w0 [ : , : , 1]
w0 [ : , : , 2]
w1 [ : , : , 0]
w1 [ : , : , 1]
w1 [ : , : , 2]
o [ : , : , 0]
o [ : , : , 1]
Convolutional Layer

## Slide 7
Intelligence Networking and Computing Lab.
Model
Pooling Layer
Down sampling
Max Pooling
Its function is to progressively reduce the spatial size of the representation to reduce the amount of parameters and computation in the Network, and hence to also control overfitting
Pooling process
  Accepts a volume of size
  Requires two hyperparameters: their spatial extent , the stride ,
  Produces a volume of size where:

## Slide 8
Intelligence Networking and Computing Lab.
Model
Relu
ReLU
Sigmoid
tanh

## Slide 9
Intelligence Networking and Computing Lab.
Model
Relu
Solid line : ReLU
Dashed line : tanh
Dataset : Cifar10
Architecture :
four-layer CNN
ReLU : Rectified Linear Units
Benefits
  Deep Convolutional neural networks with ReLUs train several times faster than their equivalents with tanh units.
  Value range of ReLU( ) is larger than that of tanh( ).
  It prevent gradient vanishing
6 times faster!
※ Gradient Vanishing
Sigmoid derivative
tanh derivative
ReLU derivative

## Slide 10
Intelligence Networking and Computing Lab.
Model
Dropout
Randomly set some neurons to zero in the forward pass
“사공이 많으면 배가 산으로 간다.”
Comparison of different models on MNIST
Error rates on CIFAR-10 and CIFAR-100

## Slide 11
Intelligence Networking and Computing Lab.
Model
Batch Normalization
When batch normalization is used, it is not affected by scale
Internal Covariate Shift
train1
train2

## Slide 12
Intelligence Networking and Computing Lab.
Model
Shortcut connections(residual network)
Denoting the desired underlying mapping as
Stacked nonlinear layers fit another mapping of
  Original mapping is recast into

## Slide 13
Intelligence Networking and Computing Lab.
Analysis
Sensitivity(recall) : TP / (TP + FN)
Positive predictive value(precision) : TP / (TP + FP)
Accuracy : TP + TN / TP + TN + FP + FN

## Slide 14: I appreciate your deep interest
Intelligence Networking and Computing Lab.